## Sheet1
Process no. | Processing step |  | produced files | Matlab figures
1 | prepare folders | cal
parameters
res
img
2 | run: split_images.m
|  | cal | tif file in cal folder
|  | images | numbered tif files in img folder
3 | create target files for CALIBRATION with 3D-PTV, c Code
set proper path for working folder
set parameters for cal point recognition
|  | click: start, highpass, image coord, corrsepondence | .tif_target files
4 | create target files for FLOW TRACERS with 3D-PTV, c Code
set parameters for flow tracer recognition
click: start, highpass, image coord (for tuning params)
|  | click: start, sequence, sequence without display (for actual processing) | _target files
5 | run: ptv_2cams_no_image_toolbox_matlab.m
set constants, lines 81-127
| calibrate | have the "calblock.txt" file in your cal_folder (you have to write (or have) this file yourself)
|  | decide on 6 points that can be seen and detected in both views |  | points, which need to be clicked
|  | click 6 points for each cam view | clicks_cam1, clicks_cam2
|  | hope for best and let the simplex algorithm converge, time <1min | cam_const_im2world | detected+projected points
reconstructed 3D points, including accuracy estimate
| read in target files and store in Matlab format |  | read_points
| make 3D points and trajectories |  | trajectories_<exp_name>
6 | post processing, after line 630 of ptv_2cams...
velocity analysis
load(name_traj)
|  | compute_holes() |  | odd&even orifice positions, vertical vel close to baffles
|  | render_traj_figures(0,al0,phase_shift,amp) |  | 3D accuracy, pdf vel, mean vel versus phase angle
|  | render_traj_figures(1,al0,phase_shift,amp) |  | 3D trajectories color coded velocity
|  | render_traj_figures(2,al0,phase_shift,amp) |  | joint vx-vz, vx-vy, vy-vz scatter plots
7 | dispersion analysis
glue_all_traj_3d(max_jump,fit_range)
re_calc_vel()
|  | save(name_glue_traj,'final_traj') | glued_trajectories_<exp_name>
name_glue_traj=...
load(name_glue_traj)
name_dispersion=...
|  | calc_dispersion(name_dispersion) | pair_dispersion_r0_<exp_name> | rSq,r,num_pairs
name_dispersion=...
|  | calc_single_dispersion(name_dispersion) | single_dispersion_<exp_name> | rSq,r,num_pairs
|  | calc_baffle_id() | baffle_id_<exp_name>
name_dispersion=...
|  | calc_single_dispersion_hopping(name_dispersion,max_search_hopp_tol) | single_dispersion_hopping_<exp_name> | rSq,r,num_pairs
8 | base cell analysis
load(name_traj)
compute_holes()
name_field=...
|  | render_base_cell(name_field,2) | base_cell_xxx | vel+rms vel 3D plot of base velocity field
Note on C17: Generally: you can always interupt the script with Ctrl+c and restart to continue after the last step
Note on C34: for disperison it pays to have as long as possible trajectories, so a final gluwing effert is made